| MIQE Item | Included in Manuscript |
| --- | --- |
| Sample details | Species, tissue types (tail tips, dried blood spots), n = 236, locality & year metadata (Electronic Supplementary) |
| DNA extraction method | Salt-extraction protocol cited (Bruford et al. 1992) |
| Primer sequences | Telomere and SCG (18S) primers provided in Supplementary Methods |
| Primer validation | The melt curves produced for both telomere and 18S after amplification by qPCR displayed a single peak, indicating specific amplification of the DNA sequence as in prior validation (Serén et al. 2023) |
| Reaction mix & cycling conditions | Fully detailed in Supplementary Methods |
| Instrument details | ThermoFisher QuantStudio Flex qPCR system specified |
| PCR efficiency | Calibrator-based relative qPCR design using LinRegPCR efficiency estimation instead of standard curve efficiency. Plate efficiencies reported (84.3% SCG, 88.7% telomere) |
| Standard curves | Calibrator-based relative qPCR design using LinRegPCR efficiency estimation instead of standard curve efficiency. Gold standard DNA used for calibration. |
| Efficiency correction | LinRegPCR applied; Pfaffl equation used |
| Replicates | Triplicate reactions per sample, samples outside of 0.5 Ct difference are excluded from downstream analysis. |
| Controls | “Gold standard” pooled DNA and no-template negative controls included on each plate. |
| Dynamic range & detection limits | – |
| Inter-plate calibration | Calibrator-based relative qPCR design using LinRegPCR efficiency estimation instead of standard curve efficiency. Gold standard DNA used for calibration. We have not ran inter-run variability assessment in this instance |
| Raw Cq values | Raw Cq values are found in the GitHub repository. |
| Prediction intervals | – |
| Randomization / blinding | Samples were not randomised in this study. |
| Data normalization | z-score transformation described |
| Statistical analysis | GLMMs, AICc model selection, hierarchical partitioning, cross-correlation with climate |
| Reporting of effect sizes & CI | Effect sizes, confidence intervals, model fit metrics provided |
| Ethics & permits | Fully documented in the main text |
| Data availability | GitHub link provided |